## Slide 1: Neuro Devices

## Slide 2: EVD vs Codman

## Slide 3: Brain Spaces

## Slide 4: Landmarks for Placement
Notes: Be respectful to the surgeons and ask preferences. Limit amount of people and infection risk.

## Slide 5: EVD Placement

## Slide 6: EVD Placement

## Slide 7: Tunneling the EVD

## Slide 8: Codman

## Slide 9: Licox

## Slide 10: Placing the Codman in the Licox

## Slide 11: Neurosurgery Considerations
They don’t use the same stuff at Presby
They are placing the devices and used for neurocritical care management
Self priming in most hospitals
Codman and Camino differences
Medical Management vs. Surgical

## Slide 12: Nursing Considerations
Sedation
Prep of equipment
DO NOT PRIME EVD UNTIL SURGEON READY TO START!
Time Out
Documentation
Cultures and Care
Antibiotics and lab values

## Slide 13: Documentation
EVD orders and documentation
Codman documentation
Licox documentation
LD documentation

## Slide 14: EVD/Codman Documentation
ICU detailed for site and care
ICU frequent for ICP, Highest ICP, CPP

## Slide 15: EVD Set-Up
Must add transducer and Prime through
Use sterile saline and prime sterile
Use sterile Drape not towel
Only prime system just before procedure

## Slide 16: Codman Set-up
Must zero to patient monitor When zero to bedside monitor will ask hit 20/100. Then zero transducer prior to insertion. This is zeroed in sterile water just prior to insertion.
Zero Codman every 4 hours and PRN
When have a continuous ICP monitoring (Codman) have RT add ETCO2 monitoring to the bedside monitor. If needed and pt. intubated can remove RR to monitor.

## Slide 17: Licox Documentation and Set Up
Must keep the smart card for monitor
With new monitor must zero Licox to patient monitor (label as SP)
Need the extra cassette for enough ports to attach Licox
Licox temperature is accurate immediately
Licox PO2 may take up to 8-12 hours to calibrate and be accurate
NOT MRI safe

## Slide 18: Monitor Set-Up
Licox
ETCO2

## Slide 19: LD documentation and Care
Why do we use LD?
Open to drain volume
How to level
Order for LD

## Slide 20: CSF Cultures
Done Daily when ordered
Change CSF bag when ¾ full or if infectious changed daily
Done sterile
Must document
Minimum 2 cc
  1 in CSF tube for lab (protein, cell count, glucose)
  1 in CSF tube for culture

## Slide 21: Overview ICP management
Always HOB 30 degrees unless indicated
Sedation (no benzos/ketamine)
Paralysis
Barbs?
CO2 management
Temperature management
Sodium management
Mannitol (typically prior to PICU)

## Slide 22: Nursing Tips
Mannitol- calculate dosing
Filter
3%-Accudose 4
EVD during transport
Transducer is MRI safe
Transducer must have dead-end

## Slide 23: Trouble Shooting
Is the EVD clamped?
Is the EVD zeroed?
Is there a dead-end on transducer?
Is there a visual obstruction?
Is there tidaling?
What happens when there is no drainage? What is the ICP?
Flushing the system?

## Slide 24: When to Call Neurosurgery
When the trouble shooting is unsuccessful and EVD is not functional
When ICP remains high after medical management
When EVD is clamped and there is ICP spikes
When there is leaking at the site
When the site looks infected or drainage

## Slide 25: Clamping
Clamping for a trial is to determine when the drain can come out.
Clamping should remain that the EVD is clamped at the buretrol to prevent drainage yet allow read of ICP.
Clamping at the patient will prevent the ICP monitoring.

## Slide 26: Clamping images

## Slide 27: New Stuff at Presby

## Slide 28: New Stuff at Presby

## Slide 29: Potential Future Care
Standardizing EVD dressing Care